Original Data: Draft

Chris Bohlman


1/11/2017

Context:

The context to this report is to check known data in order to view how the program works. Because the results of the linearity of this data set is know, I wanted to check my program writing to see if my results were on par with what was already observed. Through this, I could then look back upon my programming and see if what I did was correct. Here are the results I computed compared with what was obtained in the original report.

This data was originally gathered on March 23, 2013.


Ints vs. Counts:



To determine the integration time vs the counts of each picture, I read files in through fits, adjusted the parameters of the read in’s area equal to original analysis’ parameters (200 to 350 in the x direction and 0 to 200 on the y axis). The program I wrote analyzed counts in that section of the image for each picture, got the ints measurement from the specific header for each image.

The data was stored in ‘int’ and ‘counts’ arrays, respectively. I graphed ints, which were in milliseconds, on the x axis and counts on the y axis.

Ints vs. Counts with linear relationship:




Coefficients of line: 14.12325 4802.21666667

I can cross check the polyfit by finding programs online that determine the coefficients for a set of data. I will link the programs and provide the coefficients here:


I can also check the polyfit due to the differences in the data that Katie used and the data that I used. I can find the exact data Katie used in the idl file online, and determine the coefficients, and see if they match up with her’s or match up with mine.

True counts vs. Measured Counts with all:



For the discrepancy in this data, I should use the same resources to determine fits for the data, and check the idl file for the exact data that Katie used. This should provide me with an accurate measurement of who’s coefficients are more right.

Corrected Counts vs Ints:



3rd order corrected data, linear up to ~50,000 counts

Process:

Open images

Average out ints and counts

Make true counts

Use most linear section of raw data to create true counts

Make error

True counts of whatever order-true counts 1/true counts whatever-order

Make correct counts

Open up images again

Invert third order coefficients

For counts above 20,000, apply correction through running data through whatever-order coefficients

Graph

Error of Linearity vs. True Counts



Again, no line seems to really line up with the desired relationship for some reason. This contrasts with the data set on the other report, as with that, the third order relationship seemed to line up well. To add to this mystery, the error of linearity graph for this data set looks very like the graph of linearity of the previous data set. Whether this is due to the program or some other factors is currently unknown. I am currently taking steps to see if the data fit for this data is correct.

In comparison to the original report, the third order line went pretty well with the original data fit. In fact, the desired relationship line in the original report lines up pretty well with mine in the data, but the rest fall apart.

Analyzing the Data:

From the error of linearity plot, I discovered that the second order equation behaved more closely to the desired relationship. Now, the reason I couldn’t add fourth order is because there were only 23 items on each list (due to me averaging the ints and counts into separate lists), so the fourth order polyfit had some odd behavior. After consolidating my data and limits and methods across three python files, I finally came up with that error of linearity graph, which was a marked improvement over what I was producing previously. However, because I couldn’t get any order to exactly match up to the desired relationship, I was at a loss for things to do. That’s why I am writing this report and organizing all my files: to get some ideas or something, or to notice a method that I did wrong.

Here’s to hoping that happens.

Notes from the making of the report:

Coefs 3 for original report: poly\_fit(counts\_mean[idx],counts\_true[idx],3)

Counts\_mean: 5470.80 6239.40 6931.00 7630.10 9034.70 10446.9 11858.9 15388.0 18899.9 22385.8 25837.5 29225.3 32558.6 35832.9; 39044.7 42172.1 45193.2 48096.0 50914.0 52842.4 53251.4

Counts\_true: 5493.25 6290.22 6989.32 7688.42 9086.62 10484.8 11883.0 15378.5 18874.0 22369.5 25865.0 29360.5 32856.0 36351.5; 39847.0 43342.5 46838.0 50333.5 53829.0 57324.5 60820.0

From my report:

Mean counts: [5480.8, 6250.25, 6942.45, 7642.0, 9047.0, 10459.4, 11871.05, 15400.2, 18912.25, 22397.25, 25848.05, 29237.75, 32570.1, 35843.5, 39055.15, 42181.05, 45201.6, 48105.05, 50914.2, 52842.05, 53250.3]

True counts: [5493.246, 6290.22, 6989.32, 7688.42, 9086.62, 10484.82, 11883.02, 15378.52, 18874.02, 22369.52, 25865.02, 29360.52, 32856.02, 36351.52, 39847.02, 43342.52, 46838.02, 50333.52, 53829.02, 57324.52, 60820.02]

When I get the coefficients of third order of mean counts and true counts:

[ 2.05521182e-10 -1.33210758e-05 1.25133285e+00 -1.21357215e+03]

Compared to report: [4.6e-11 -1.41e-6 1.00273 112.575]

Still a discrepancy?

My values:

True counts: [5409.5, 6214.5, 6920.7, 7626.9, 9039.2, 10451.5, 11863.8, 15394.7, 18925.5, 22456.3, 25987.1, 29517.9, 33048.7, 36579.5, 40110.3, 43641.2, 47172.0, 50702.8, 54233.6, 57764.4, 61295.2]

Desired Line: [1.00000000e+00, -1.47027163e-11]

2nd order: [-1.21231047e-06, 1.02923051e+00, -1.31708819e+02]

3rd order: [-5.39671169e-11, 2.13724611e-06, 9.69524005e-01, 1.50574976e+02]

4th order: [1.45890219e-15, -1.74850049e-10, 5.53497486e-06, 9.32284124e-01, 2.81160002e+02]

Inverse third order: [5.45833636e-11, -2.07662079e-06, 1.02835787, -138.312108]